## ВВГнг(А)-LSLTx
| 0.1.1ЩСС(И) | 2.1.2ЩСС(И) | 2.2.2ЩСС(И) | 2.3.2ЩСС(И) | 2.4.2ЩСС(И) | 2.5.2ЩСС(И) | 1.6.1ЩСС1(И) | 1.6.1ЩСС2(И) | 4.6.4ЩСС(И) | 2.7.2ЩСС(И) | Итог | Коэф. Запаса, % | 10 | от 120 кв.мм и выше
ВВГнг(А)-LSLTx | [12 empty] | 20 | 10-95 кв.мм
1x1,5 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | 20 | 1,5-6 кв.мм
1x2,5 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1x4 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1x6 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1x10 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1x16 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1x25 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1x35 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1x50 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1x70 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1x95 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1x120 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1x150 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1x185 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1x240 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1x300 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1x400 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1x500 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1x630 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
3x1,5 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
3x2,5 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
3x4 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
3x6 | 120 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
3x10 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
3x16 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
3x25 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
3x35 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
3x50 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
3x70 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
3x95 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
3x120 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
3x150 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
3x185 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
3x240 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
4x1,5 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
4x2,5 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
4x4 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
4x6 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
4x10 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
4x16 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
4x25 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
4x35 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
4x50 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
4x70 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
4x95 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
4x120 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
4x150 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
4x185 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
4x240 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
4x300 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
5x1,5 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
5x2,5 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
5x4 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
5x6 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
5x10 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
5x16 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
5x25 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
5x35 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
5x50 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
5x70 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
5x95 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
5x120 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
5x150 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
5x185 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
5x240 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!

## 2.2.2ЩО(И)
2.2.2ЩО(И) |  |  |  |  | 120
Pу., кВт | 4.76 | ΔIp = % | 78.78% |  | 120
Кс | 1 | L1 | 16.2781 |  | TRUE | [25 empty] | 0
Рр., кВт | 4.76 | L2 | 5.7219
соs ф | 0.85 | L3 | 3.4545
Iр., А | 8.5184
ВВГнг(А)-LSLTx
1x1,5 | 0
1x2,5 | 0
1x4 | 0
1x6 | 0
1x10 | 0
1x16 | 0
1x25 | 0
1x35 | 0
1x50 | 0
1x70 | 0
1x95 | 0
1x120 | 0
1x150 | 0
1x185 | 0
1x240 | 0
1x300 | 0
1x400 | 0
1x500 | 0
1x630 | 0
0
3x1,5 | 0
3x2,5 | 0
3x4 | 0
3x6 | 120
3x10 | 0
3x16 | 0
3x25 | 0
3x35 | 0
3x50 | 0
3x70 | 0
3x95 | 0
3x120 | 0
3x150 | 0
3x185 | 0
3x240 | 0
0
4x1,5 | 0
4x2,5 | 0
4x4 | 0
4x6 | 0
4x10 | 0
4x16 | 0
4x25 | 0
4x35 | 0
4x50 | 0
4x70 | 0
4x95 | 0
4x120 | 0
4x150 | 0
4x185 | 0
4x240 | 0
4x300 | 0
0
5x1,5 | 0
5x2,5 | 0
5x4 | 0
5x6 | 0
5x10 | 0
5x16 | 0
5x25 | 0
5x35 | 0
5x50 | 0
5x70 | 0
5x95 | 0
5x120 | 0
5x150 | 0
5x185 | 0
5x240 | 0
|  |  |  | ОТ | 2ВРУ-2
№ п.п. | № пом. | Обозначение Designation | Напр-ие | Фаза | Потребитель Consumer | Площадь, кв.м. | Р уд. кВт | Кол-во | Установленная мощность Connected power | Коэффициент мощности Power factor |  | Коэффициент спроса Demand factor | Расчетная активная мощность Demand power | Расчетная реактивная мощность Demand reactive power | Единовременная нагрузка Total power | Расчетный ток Rated current | Iуст. (А) | Автоматический выключатель |  |  |  | Контактор |  |  |  | L 1 | L 2 | L 3 | Данные кабельной линии | Тип кабеля и сечение | Сечение, кв. мм. | Коэффициент, С | Длина участка, м | ΣM | ∆U<4 |  |  |  | В лотке | Общая длина, м | [28 empty] | 21 |  |  | 24
[9 empty] | Руст. кВт | cos f | tg f | Кс | Pp, кВт | Qp, кВАр | Sp, кВА | Ip, A |  | Марка | Хар. | Ток | ∆I | Тип | Марка | Ток | Напр. Упр |  |  |  | Марка линии-Рр-Iр-L-∆U
1 | 2 | a | b | c | 3 | 3.1 | 3.1 | 3.2 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | d |  |  | e | [5 empty] | f | g | h | i | j | k | l | m | n | o | [13 empty] | L1 | L2 | L3 | L4 | L5 | L6 | L7 | L8 | L9 | L10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
|  |  | 380 | 3~ | 2.2.2ЩО(И) |  |  |  | 4.76 | 0.85 | 0.61974 | 1 | 4.76 | 2.95 | 5.6 | 8.5184 | 9.3702 |  |  | 10 | [5 empty] | 16.2781 | 5.7219 | 3.4545 | - 4,76 - 8,5 - 5 - 0 | ВВГнг(А)-LSLTx 5х10 | 10 | 72 | 5 | 23.8 | 0.033056 | [13 empty] | L1: 34; L2: 34; L3: 24; L4: 34; L6: 15; L7: 9; L8: 15
2.2.2ЩО(И) | [16 empty] | 1.1 | [21 empty] | лоток |  | Значение коэффициента С, для расчета сетей по потере напряжения
1 | 2.03, 2.12, 2.18 | 2.2.2ЩО(И)-1 | 220 | L1 | Рабочее освещение |  | 0.5 | 1 | 0.5 | 0.85 | 0.61974 | 1 | 0.5 | 0.30987 | 0.58824 | 2.6738 | 2.9412 | STI 2P |  | 10 | [5 empty] | 2.6738 | 0 | 0 | 2.2.2ЩО(И)-1 - 0,5 - 2,7 - 15*0,1 - ВВГнг(А)-LSLTx 3x6 | ВВГнг(А)-LSLTx 3x6 | 6 | 12 | 15 | 7.5 | 0.10417 | . | 220 | SWITCH_FUSE_2PH | 3x6 | 15 | [5 empty] | Медь | Алюминий |  | L2: 13; L6: 4
2 | 2.02 | 2.2.2ЩО(И)-2 | 220 | L2 | Рабочее освещение |  | 0.8 | 1 | 0.8 | 0.85 | 0.61974 | 1 | 0.8 | 0.4958 | 0.94118 | 4.2781 | 4.7059 | STI 2P |  | 10 | [5 empty] | 0 | 4.2781 | 0 | 2.2.2ЩО(И)-2 - 0,8 - 4,3 - 15*0,2 - ВВГнг(А)-LSLTx 3x6 | ВВГнг(А)-LSLTx 3x6 | 6 | 12 | 15 | 12 | 0.16667 | . | 220 | SWITCH_FUSE_2PH | 3x6 | 15 | 380 | Трехфазная без нулевого провода |  |  |  | 72 | 44 |  | L6: 4
3 | 2.32, 2.35 | 2.2.2ЩО(И)-3 | 220 | L3 | Рабочее освещение |  | 0.408 | 1 | 0.408 | 0.85 | 0.61974 | 1 | 0.408 | 0.25286 | 0.48 | 2.1818 | 2.4 | iC60H | C | 10 |  | KM | iTL | 16 | 220 | 0 | 0 | 2.1818 | 2.2.2ЩО(И)-3 - 0,41 - 2,2 - 15*0,1 - ВВГнг(А)-LSLTx 3x6 | ВВГнг(А)-LSLTx 3x6 | 6 | 12 | 15 | 6.12 | 0.085 | . | 220 | SWITCH_CONTACTOR_1PH | 3x6 | 15 | 380 | Трехфазная без нулевого провода |  |  |  | 72 | 44 |  | L2: 12
4 | 2.58, 2.44, 2.31 | 2.2.2ЩО(И)-4 | 220 | L1 | Рабочее освещение |  | 0.544 | 1 | 0.544 | 0.85 | 0.61974 | 1 | 0.544 | 0.33714 | 0.64 | 2.9091 | 3.2 | iC60H | C | 10 | [5 empty] | 2.9091 | 0 | 0 | 2.2.2ЩО(И)-4 - 0,54 - 2,9 - 15*0,1 - ВВГнг(А)-LSLTx 3x6 | ВВГнг(А)-LSLTx 3x6 | 6 | 12 | 15 | 8.16 | 0.11333 | . | 220 | SWITCH_1PH | 3x6 | 15 | [8 empty] | L2: 16
5 | 2.40 | 2.2.2ЩО(И)-5 | 220 | L2 | Рабочее освещение |  | 0.27 | 1 | 0.27 | 0.85 | 0.61974 | 1 | 0.27 | 0.16733 | 0.31765 | 1.4439 | 1.5882 | iC60H | C | 10 | 30 мА |  |  |  |  | 0 | 1.4439 | 0 | 2.2.2ЩО(И)-5 - 0,27 - 1,4 - 15*0,1 - ВВГнг(А)-LSLTx 3x6 | ВВГнг(А)-LSLTx 3x6 | 6 | 12 | 15 | 4.05 | 0.05625 | . | 220 | SWITCH_RCD_1PH | 3x6 | 15 | [8 empty] | L6: 18
6 | 2.54 | 2.2.2ЩО(И)-6 | 220 | L3 | Рабочее освещение |  | 0.238 | 1 | 0.238 | 0.85 | 0.61974 | 1 | 0.238 | 0.1475 | 0.28 | 1.2727 | 1.4 | iC60H | C | 10 | 30 мА | KM | iTL | 16 | 220 | 0 | 0 | 1.2727 | 2.2.2ЩО(И)-6 - 0,24 - 1,3 - 15*0 - ВВГнг(А)-LSLTx 3x6 | ВВГнг(А)-LSLTx 3x6 | 6 | 12 | 15 | 3.57 | 0.049583 | . | 220 | SWITCH_RCD_CONTACTOR_1PH | 3x6 | 15 | 380 | Трехфазная без нулевого провода |  |  |  | 72 | 44 |  | L2: 7
7 |  | 2.2.2ЩО(И)-7 | 220 | L1 | Рабочее освещение |  | 2 | 1 | 2 | 0.85 | 0.61974 | 1 | 2 | 1.2395 | 2.3529 | 10.6952 | 11.7647 | iC60H | C | 16 | [5 empty] | 10.6952 | 0 | 0 | 2.2.2ЩО(И)-7 - 2 - 10,7 - 15*0,4 - ВВГнг(А)-LSLTx 3x6 | ВВГнг(А)-LSLTx 3x6 | 6 | 12 | 15 | 30 | 0.41667 | . | 220 | SWITCH_1PH | 3x6 | 15 | 380 | Трехфазная без нулевого провода |  |  |  | 72 | 44
8 |  | 2.2.2ЩО(И)-8 | 220 | L2 | Рабочее освещение |  | 0 | 1 | 0 | 0.85 | 0.61974 | 1 | 0 | 0 | 0 | 0 | 0 | iC60H | C | 10 | [5 empty] | 0 | 0 | 0 | 2.2.2ЩО(И)-8 - 0 - 0 - 15*0 - ВВГнг(А)-LSLTx 3x6 | ВВГнг(А)-LSLTx 3x6 | 6 | 12 | 15 | 0 | 0 | . | 220 | SWITCH_1PH | 3x6 | 15 | 380 | Трехфазная без нулевого провода |  |  |  | 72 | 44
9 |  | 2.2.2ЩО(И)-9 | 220 | L3 | Резерв |  | 0 |  | 0 | 0.85 | 0.61974 | 1 | 0 | 0 | 0 | 0 | 0 | iC60H | C | 10 | [5 empty] | 0 | 0 | 0 | * | [6 empty] | . | 220 | SWITCH_1PH | 3x
10 |  | 2.2.2ЩО(И)-10 | 220 | L1 | Резерв |  | 0 |  | 0 | 0.85 | 0.61974 | 1 | 0 | 0 | 0 | 0 | 0 | iC60H | C | 10 | [5 empty] | 0 | 0 | 0 | * | [6 empty] | . | 220 | SWITCH_1PH | 3x
11 |  | 2.2.2ЩО(И)-11 | 220 | L2 | Резерв |  |  |  | 0 | 0.85 | 0.61974 | 1 | 0 | 0 | 0 | 0 | 0 | iC60H | C | 10 | [5 empty] | 0 | 0 | 0 | * | [6 empty] | . | 220 | SWITCH_1PH | 3x
12 |  | 2.2.2ЩО(И)-12 | 220 | L3 | Резерв |  |  |  | 0 | 0.85 | 0.61974 | 1 | 0 | 0 | 0 | 0 | 0 | iC60H | C | 10 | [5 empty] | 0 | 0 | 0 | * | [6 empty] | . | 220 | SWITCH_1PH | 3x
14 |  |  | 1 | L2 |  |  |  | 1 | 0 | 0.92 | 0.426 | 1 | 0 | 0 | 0 | 0 | 0 |  |  | 10 | [5 empty] | 0 | 0 | 0 | - 0 - 0 - - 0 | ППГнг(А)-FRHF 3х1,5 | 1.5 | 12 |  | 0 | 0
15 |  |  | 1 | L3 |  |  |  | 1 | 0 | 0.83 | 0.672 | 1 | 0 | 0 | 0 | 0 | 0 |  |  | 10 | [5 empty] | 0 | 0 | 0 | - 0 - 0 - - 0 | ППГнг(А)-FRHF 3х1,5 | 1.5 | 12 |  | 0 | 0
16 |  |  | 1 | L1 |  |  |  | 1 | 0 | 0.83 | 0.672 | 1 | 0 | 0 | 0 | 0 | 0 |  |  | 10 | [5 empty] | 0 | 0 | 0 | - 0 - 0 - - 0 | ППГнг(А)-FRHF 3х1,5 | 1.5 | 12 |  | 0 | 0
17 |  |  | 1 | L2 |  |  |  | 1 | 0 | 0.83 | 0.672 | 1 | 0 | 0 | 0 | 0 | 0 |  |  | 10 | [5 empty] | 0 | 0 | 0 | - 0 - 0 - - 0 | ППГнг(А)-FRHF 3х1,5 | 1.5 | 12 |  | 0 | 0
18 |  |  | 1 | L3 |  |  |  | 1 | 0 | 0.95 | 0.32868 | 1 | 0 | 0 | 0 | 0 | 0 |  |  | 10 | [5 empty] | 0 | 0 | 0 | - 0 - 0 - - 0 | ППГнг(А)-FRHF 3х1,5 | 1.5 | 12 |  | 0 | 0
19 |  |  | 1 | L1 |  |  |  | 1 | 0 | 0.87 | 0.56673 | 1 | 0 | 0 | 0 | 0 | 0 |  |  | 10 | [5 empty] | 0 | 0 | 0 | - 0 - 0 - - 0 | ППГнг(А)-FRHF 3х1,5 | 1.5 | 12 |  | 0 | 0
20 |  |  | 1 | L2 |  |  |  | 1 | 0 | 0.87 | 0.56673 | 1 | 0 | 0 | 0 | 0 | 0 |  |  | 10 | [5 empty] | 0 | 0 | 0 | - 0 - 0 - - 0 | ППГнг(А)-FRHF 3х1,5 | 1.5 | 12 |  | 0 | 0
21 |  |  | 1 | L3 |  |  |  | 1 | 0 | 0.87 | 0.56673 | 1 | 0 | 0 | 0 | 0 | 0 |  |  | 10 | [5 empty] | 0 | 0 | 0 | - 0 - 0 - - 0 | ППГнг(А)-FRHF 3х1,5 | 1.5 | 12 |  | 0 | 0
22 |  |  | 1 | L3 |  |  |  | 1 | 0 | 0.87 | 0.56673 | 1 | 0 | 0 | 0 | 0 | 0 |  |  | 10 | [5 empty] | 0 | 0 | 0 | - 0 - 0 - - 0 | ППГнг(А)-FRHF 3х1,5 | 1.5 | 12 |  | 0 | 0
23 |  |  | 1 | L1 |  |  |  | 1 | 0 | 0.87 | 0.56673 | 1 | 0 | 0 | 0 | 0 | 0 |  |  | 10 | [5 empty] | 0 | 0 | 0 | - 0 - 0 - - 0 | ППГнг(А)-FRHF 3х1,5 | 1.5 | 12 |  | 0 | 0
24 |  |  | 1 | L2 |  |  |  | 1 | 0 | 0.87 | 0.56673 | 1 | 0 | 0 | 0 | 0 | 0 |  |  | 10 | [5 empty] | 0 | 0 | 0 | - 0 - 0 - - 0 | ППГнг(А)-FRHF 3х1,5 | 1.5 | 12 |  | 0 | 0
25 |  |  | 1 | L3 |  |  |  | 1 | 0 | 0.87 | 0.56673 | 1 | 0 | 0 | 0 | 0 | 0 |  |  | 10 | [5 empty] | 0 | 0 | 0 | - 0 - 0 - - 0 | ППГнг(А)-FRHF 3х1,5 | 1.5 | 12 |  | 0 | 0 | [5 empty] | 220 | Трехфазная без нулевого провода |  |  |  | 24 | 14.7
26 |  |  | 1 | L1 |  |  |  | 1 | 0 | 0.87 | 0.56673 | 1 | 0 | 0 | 0 | 0 | 0 |  |  | 10 | [5 empty] | 0 | 0 | 0 | - 0 - 0 - - 0 | ППГнг(А)-FRHF 3х1,5 | 1.5 | 12 |  | 0 | 0 | [5 empty] | 36 |  |  |  |  | 0.648 | 0.396
27 |  |  | 1 | L2 |  |  |  | 1 | 0 | 0.87 | 0.56673 | 1 | 0 | 0 | 0 | 0 | 0 |  |  | 10 | [5 empty] | 0 | 0 | 0 | - 0 - 0 - - 0 | ППГнг(А)-FRHF 3х1,5 | 1.5 | 12 |  | 0 | 0 | [5 empty] | 24 |  |  |  |  | 0.288 | 0.176
28 |  |  | 1 | L3 |  |  |  | 1 | 0 | 0.87 | 0.56673 | 1 | 0 | 0 | 0 | 0 | 0 |  |  | 10 | [5 empty] | 0 | 0 | 0 | - 0 - 0 - - 0 | ППГнг(А)-FRHF 3х1,5 | 1.5 | 12 |  | 0 | 0 | [5 empty] | 12 |  |  |  |  | 0.072 | 0.044
29 |  |  | 1 | L1 |  |  |  | 1 | 0 | 0.87 | 0.56673 | 1 | 0 | 0 | 0 | 0 | 0 |  |  | 10 | [5 empty] | 0 | 0 | 0 | - 0 - 0 - - 0 | ППГнг(А)-FRHF 3х1,5 | 1.5 | 12 |  | 0 | 0 | [5 empty] | 380/220 | Двухфазная с нулевым проводом |  |  |  | 32 | 19.5
30 |  |  | 1 | L2 |  |  |  | 1 | 0 | 0.87 | 0.56673 | 1 | 0 | 0 | 0 | 0 | 0 |  |  | 10 | [5 empty] | 0 | 0 | 0 | - 0 - 0 - - 0 | ППГнг(А)-FRHF 3х1,5 | 1.5 | 12 |  | 0 | 0 | [5 empty] | 220/127 |  |  |  |  | 10.7 | 6.5
31 |  |  | 1 | L3 |  |  |  | 1 | 0 | 0.87 | 0.56673 | 1 | 0 | 0 | 0 | 0 | 0 |  |  | 10 | [5 empty] | 0 | 0 | 0 | - 0 - 0 - - 0 | ППГнг(А)-FRHF 3х1,5 | 1.5 | 12 |  | 0 | 0 | [5 empty] | 220 | Двухпроводная переменного или постоянного тока |  |  |  | 12 | 7.4
32 |  |  | 1 | L1 |  |  |  | 1 | 0 | 0.87 | 0.56673 | 1 | 0 | 0 | 0 | 0 | 0 |  |  | 10 | [5 empty] | 0 | 0 | 0 | - 0 - 0 - - 0 | ППГнг(А)-FRHF 3х1,5 | 1.5 | 12 |  | 0 | 0 | [5 empty] | 127 |  |  |  |  | 4 | 2.46
33 |  |  | 1 | L2 |  |  |  | 1 | 0 | 0.87 | 0.56673 | 1 | 0 | 0 | 0 | 0 | 0 |  |  | 10 | [5 empty] | 0 | 0 | 0 | - 0 - 0 - - 0 | ППГнг(А)-FRHF 3х1,5 | 1.5 | 12 |  | 0 | 0 | [5 empty] | 36 |  |  |  |  | 0.324 | 0.198
34 |  |  | 1 | L3 |  |  |  | 1 | 0 | 0.87 | 0.56673 | 1 | 0 | 0 | 0 | 0 | 0 |  |  | 10 | [5 empty] | 0 | 0 | 0 | - 0 - 0 - - 0 | ППГнг(А)-FRHF 3х1,5 | 1.5 | 12 |  | 0 | 0 | [5 empty] | 24 |  |  |  |  | 0.144 | 0.088
35 |  |  | 3 | 3~ |  |  |  | 1 | 0 | 0.9 | 0.48432 | 1 | 0 | 0 | 0 | 0 | 0 |  |  | 10 | [5 empty] | 0 | 0 | 0 | - 0 - 0 - - 0 | ППГнг(А)-FRHF 5х1,5 | 1.5 | 72 |  | 0 | 0 | [5 empty] | 12 |  |  |  |  | 0.036 | 0.022
36 |  |  | 3 | 3~ |  |  |  | 1 | 0 | 0.9 | 0.48432 | 1 | 0 | 0 | 0 | 0 | 0 |  |  | 10 | [5 empty] | 0 | 0 | 0 | - 0 - 0 - - 0 | ППГнг(А)-FRHF 5х1,5 | 1.5 | 72 |  | 0 | 0
37 |  |  | 1 | L3 |  |  |  | 1 | 0 | 0.92 | 0.426 | 1 | 0 | 0 | 0 | 0 | 0 |  |  | 10 | [5 empty] | 0 | 0 | 0 | - 0 - 0 - - 0 | ППГнг(А)-FRHF 3х1,5 | 1.5 | 12 |  | 0 | 0 | [5 empty] | ПуГВ 1х35
38 |  |  | 1 | L2 |  |  |  | 1 | 0 | 0.95 | 0.32868 | 1 | 0 | 0 | 0 | 0 | 0 |  |  | 10 | [5 empty] | 0 | 0 | 0 | - 0 - 0 - - 0 | ППГнг(А)-FRHF 3х1,5 | 1.5 | 12 |  | 0 | 0 | [5 empty] | ПуГВ 1х6
39 |  |  | 1 | L2 |  |  |  | 1 | 0 | 0.95 | 0.32868 | 1 | 0 | 0 | 0 | 0 | 0 |  |  | 10 | [5 empty] | 0 | 0 | 0 | - 0 - 0 - - 0 | ППГнг(А)-FRHF 3х1,5 | 1.5 | 12 |  | 0 | 0
40 |  |  | 1 | L3 |  |  |  | 1 | 0 | 0.95 | 0.32868 | 1 | 0 | 0 | 0 | 0 | 0 |  |  | 10 | [5 empty] | 0 | 0 | 0 | - 0 - 0 - - 0 | ППГнг(А)-FRHF 3х1,5 | 1.5 | 12 |  | 0 | 0
41 |  |  | 1 | L1 |  |  |  | 1 | 0 | 0.95 | 0.32868 | 1 | 0 | 0 | 0 | 0 | 0 |  |  | 10 | [5 empty] | 0 | 0 | 0 | - 0 - 0 - - 0 | ППГнг(А)-FRHF 3х1,5 | 1.5 | 12 |  | 0 | 0
42 |  |  | 1 | L3 |  |  |  | 1 | 0 | 0.95 | 0.32868 | 1 | 0 | 0 | 0 | 0 | 0 |  |  | 10 | [5 empty] | 0 | 0 | 0 | - 0 - 0 - - 0 | ППГнг(А)-FRHF 3х1,5 | 1.5 | 12 |  | 0 | 0 | [5 empty] | КВВГ 10х1,0
43 |  |  | 1 | L1 |  |  |  | 1 | 0 | 0.95 | 0.32868 | 1 | 0 | 0 | 0 | 0 | 0 |  |  | 10 | [5 empty] | 0 | 0 | 0 | - 0 - 0 - - 0 | ППГнг(А)-FRHF 3х1,5 | 1.5 | 12 |  | 0 | 0 | [5 empty] | ВВГнг 3х2,5
44 |  |  | 1 | L2 |  |  |  | 1 | 0 | 0.95 | 0.32868 | 1 | 0 | 0 | 0 | 0 | 0 |  |  | 10 | [5 empty] | 0 | 0 | 0 | - 0 - 0 - - 0 | ППГнг(А)-FRHF 3х1,5 | 1.5 | 12 |  | 0 | 0 | [5 empty] | ВВГнг-LS 3х1,5
45 |  |  | 1 | L3 |  |  |  | 1 | 0 | 0.95 | 0.32868 | 1 | 0 | 0 | 0 | 0 | 0 |  |  | 10 | [5 empty] | 0 | 0 | 0 | - 0 - 0 - - 0 | ППГнг(А)-FRHF 3х1,5 | 1.5 | 12 |  | 0 | 0 | [5 empty] | #REF!
46 |  |  | 1 | L1 |  |  |  | 1 | 0 | 0.95 | 0.32868 | 1 | 0 | 0 | 0 | 0 | 0 |  |  | 10 | [5 empty] | 0 | 0 | 0 | - 0 - 0 - - 0 | ППГнг(А)-FRHF 3х1,5 | 1.5 | 12 |  | 0 | 0 | [5 empty] | ПуГВ 1х6
47 |  |  | 1 | L2 |  |  |  | 1 | 0 | 0.95 | 0.32868 | 1 | 0 | 0 | 0 | 0 | 0 |  |  | 10 | [5 empty] | 0 | 0 | 0 | - 0 - 0 - - 0 | ППГнг(А)-FRHF 3х1,5 | 1.5 | 12 |  | 0 | 0
48 |  |  | 1 | L3 |  |  |  | 1 | 0 | 0.95 | 0.32868 | 1 | 0 | 0 | 0 | 0 | 0 |  |  | 10 | [5 empty] | 0 | 0 | 0 | - 0 - 0 - - 0 | ППГнг(А)-FRHF 3х1,5 | 1.5 | 12 |  | 0 | 0
49 |  |  | 1 | L1 |  |  |  | 1 | 0 | 0.95 | 0.32868 | 1 | 0 | 0 | 0 | 0 | 0 |  |  | 10 | [5 empty] | 0 | 0 | 0 | - 0 - 0 - - 0 | ППГнг(А)-FRHF 3х1,5 | 1.5 | 12 |  | 0 | 0
50 |  |  | 1 | L2 |  |  |  | 1 | 0 | 0.95 | 0.32868 | 1 | 0 | 0 | 0 | 0 | 0 |  |  | 10 | [5 empty] | 0 | 0 | 0 | - 0 - 0 - - 0 | ППГнг(А)-FRHF 3х1,5 | 1.5 | 12 |  | 0 | 0 | [5 empty] | КВВГ 10х1,0
51 |  |  | 1 | L3 |  |  |  | 1 | 0 | 0.95 | 0.32868 | 1 | 0 | 0 | 0 | 0 | 0 |  |  | 10 | [5 empty] | 0 | 0 | 0 | - 0 - 0 - - 0 | ППГнг(А)-FRHF 3х1,5 | 1.5 | 12 |  | 0 | 0 | [5 empty] | ВВГнг 3х2,5
52 |  |  | 1 | L1 |  |  |  | 1 | 0 | 0.95 | 0.32868 | 1 | 0 | 0 | 0 | 0 | 0 |  |  | 10 | [5 empty] | 0 | 0 | 0 | - 0 - 0 - - 0 | ППГнг(А)-FRHF 3х1,5 | 1.5 | 12 |  | 0 | 0 | [5 empty] | ВВГнг-LS 3х1,5
53 |  |  | 1 | L2 |  |  |  | 1 | 0 | 0.95 | 0.32868 | 1 | 0 | 0 | 0 | 0 | 0 |  |  | 10 | [5 empty] | 0 | 0 | 0 | - 0 - 0 - - 0 | ППГнг(А)-FRHF 3х1,5 | 1.5 | 12 |  | 0 | 0 | [5 empty] | #REF!
54 |  |  | 1 | L3 |  |  |  | 1 | 0 | 0.95 | 0.32868 | 1 | 0 | 0 | 0 | 0 | 0 |  |  | 10 | [5 empty] | 0 | 0 | 0 | - 0 - 0 - - 0 | ППГнг(А)-FRHF 3х1,5 | 1.5 | 12 |  | 0 | 0 | [5 empty] | #REF!
55 |  |  | 1 | L3 |  |  |  | 1 | 0 | 0.95 | 0.32868 | 1 | 0 | 0 | 0 | 0 | 0 |  |  | 10 | [5 empty] | 0 | 0 | 0 | - 0 - 0 - - 0 | ППГнг(А)-FRHF 3х1,5 | 1.5 | 12 |  | 0 | 0 | [5 empty] | ВВГнг 3х2,5
56 |  |  | 1 | L1 |  |  |  | 1 | 0 | 0.95 | 0.32868 | 1 | 0 | 0 | 0 | 0 | 0 |  |  | 10 | [5 empty] | 0 | 0 | 0 | - 0 - 0 - - 0 | ППГнг(А)-FRHF 3х1,5 | 1.5 | 12 |  | 0 | 0 | [5 empty] | ВВГнг-LS 3х1,5
57 |  |  | 1 | L2 |  |  |  | 1 | 0 | 0.95 | 0.32868 | 1 | 0 | 0 | 0 | 0 | 0 |  |  | 10 | [5 empty] | 0 | 0 | 0 | - 0 - 0 - - 0 | ППГнг(А)-FRHF 3х1,5 | 1.5 | 12 |  | 0 | 0 | [5 empty] | #REF!
58 |  |  | 1 | L3 |  |  |  | 1 | 0 | 0.95 | 0.32868 | 1 | 0 | 0 | 0 | 0 | 0 |  |  | 10 | [5 empty] | 0 | 0 | 0 | - 0 - 0 - - 0 | ППГнг(А)-FRHF 3х1,5 | 1.5 | 12 |  | 0 | 0 | [5 empty] | #REF!
59 |  |  | 1 | L3 |  |  |  | 1 | 0 | 0.95 | 0.32868 | 1 | 0 | 0 | 0 | 0 | 0 |  |  | 10 | [5 empty] | 0 | 0 | 0 | - 0 - 0 - - 0 | ППГнг(А)-FRHF 3х1,5 | 1.5 | 12 |  | 0 | 0 | [5 empty] | ВВГнг 3х2,5
60 |  |  | 1 | L1 |  |  |  | 1 | 0 | 0.95 | 0.32868 | 1 | 0 | 0 | 0 | 0 | 0 |  |  | 10 | [5 empty] | 0 | 0 | 0 | - 0 - 0 - - 0 | ППГнг(А)-FRHF 3х1,5 | 1.5 | 12 |  | 0 | 0 | [5 empty] | ВВГнг-LS 3х1,5
61 |  |  | 1 | L2 |  |  |  | 1 | 0 | 0.95 | 0.32868 | 1 | 0 | 0 | 0 | 0 | 0 |  |  | 10 | [5 empty] | 0 | 0 | 0 | - 0 - 0 - - 0 | ППГнг(А)-FRHF 3х1,5 | 1.5 | 12 |  | 0 | 0 | [5 empty] | #REF!
62 |  |  | 1 | L2 |  |  |  | 1 | 0 | 0.95 | 0.32868 | 1 | 0 | 0 | 0 | 0 | 0 |  |  | 10 | [5 empty] | 0 | 0 | 0 | - 0 - 0 - - 0 | ППГнг(А)-FRHF 3х1,5 | 1.5 | 12 |  | 0 | 0 | [5 empty] | #REF!
63 |  |  | 1 | L3 |  |  |  | 1 | 0 | 0.95 | 0.32868 | 1 | 0 | 0 | 0 | 0 | 0 |  |  | 10 | [5 empty] | 0 | 0 | 0 | - 0 - 0 - - 0 | ППГнг(А)-FRHF 3х1,5 | 1.5 | 12 |  | 0 | 0 | [5 empty] | #REF!
нередактируемые поля
поля для заполнения
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60 | 61 | 62 | 63 | 64 | 65 | 66 | 67 | 68 | 69 | 70 | 71 | 72 | 73
Note on C1: Давыдов Михаил Сергеевич: Ставить знак "+", чтобы перенести коэффициент загрузки фаз в однолинейную схему. Ничего не ставить, чтобы не переносить.

## DataSheet
3~ | QS | B | SWITCH_1PH
L1 | QF | C | SWITCH_3PH
L2 | QFD | D | SWITCH_RCD_1PH
L3 |  | AC C | SWITCH_RCD_3PH
|  | A C | SWITCH_FUSE_2PH
SWITCH_CONTACTOR_1PH
SWITCH_CONTACTOR_3PH
SWITCH_RCD_CONTACTOR_1PH
SWITCH_RCD_CONTACTOR_3PH